qPCR

We use two types of qPCR reaction – SYBR and probe. SYBR is a general purpose reagent that works with any primer set, probe PCRs are expensive to initially set up but allow multiplexing of multiple qPCR reactions in a single tube which substantially increases accuracy when measuring small differences eg: rDNA CNV.

We normally use 10µl reactions in 96 well plates, but have recently also started using 4µl reactions in 384 well plates. Recipes given below are for 10µl reactions, just scale for 4µl reactions but tell the machine they are 10µl.

We use the Maxima SYBR/probe mixes from Fermentas (now Thermo)

The template DNA has a big impact on qPCR. qPCR is very sensitive to trace phenol so phenol:chloroform purified DNA should be diluted at least 10-fold. Genomic DNA samples should ideally be digested before use (with a restriction enzyme that doesn’t cut in the amplicons!) to bring the fragment size to <10kb. This ensures that the DNA solution is homogenous and increases accuracy.

Basic SYBR reaction

5µl 2x Maxima SYBR mix

0.3µl primer mix, containing both primers at 10µM

0.7µl water

Make up enough of this mix for 10% more reactions than you need and aliquot 6µl into each well.

Dilute DNA samples 1:4 (if required), then add 4µl DNA to each well. Each sample should be assayed in triplicate.

Run using the following program:

95° 10 min

95° 15 sec  \

60° 1 min     x40

Plate read   /

Melt curve (this is pre-defined when you set up the program)

Designing primer sets for qPCR

We use this site with default parameters, and normally order and test 2-3 sets of oligos.

https://www.genscript.com/ssl-bin/app/primer

Test them by running reactions in triplicate on 5x 10-fold serial dilutions of test DNA. Use inbuilt qPCR software (BioRad CFX on our systems) to calculate efficiency and reproducibility (as an R2 value) – efficiency should be close to 100%, R2 should be >0.985.

Alternatively, design primers by standard methods given in the PCR protocol, aim for a Tm of 55-58 based on the NEB oligo calculator.

Designing primer sets for probe PCR

Start by testing the candidate primer set by SYBR-qPCR and only if they are excellent primers should you order the probe (probes are expensive). The probes we use are based on the TaqMan system, and have a fluorophore on one end and a quencher on the other.

Common combinations:

6FAM – oligo – BHQ1

HEX – oligo – BHQ1

Basic probe PCR reaction

5µl 2x Maxima probe mix

0.3µl each primer mix, containing both primers at 10µM

0.1µl each probe (10µM)

Water to 6 µl

Make up enough of this mix for 10% more reactions than you need and aliquot 6µl into each well.

Dilute DNA samples 1:4 (if required), then add 4µl DNA to each well. Each sample should be assayed in triplicate.

Run using the following program:

95° 10 min

95° 15 sec  \

60° 30 sec     x40

Plate read   /

Melt curve (this is pre-defined when you set up the program)

Yeast Genomic DNA preparation for qPCR

Re-suspend 1 large colony or cells from ~100µl saturated culture in 200l Fast Lysis buffer (should be 5x107 cells strictly)

Add 20-50l glass beads and 200l phenol/chloroform

Vortex for 5min at 4C or room temperature

Spin for 5min at top speed

Extract 150µl of the upper phase, add 15µl 3M NaOAc pH5.2 and 450µl ethanol

Vortex, then spin 15min at top speed

Wash pellet with 1ml 70% ethanol

Dry pellet 5min at RT

Add 100µl EB (10mM Tris pH8.0, 1mM EDTA), vortex

Digest 	50µl gDNA

10µl CutSMART

0.2µl (4U) EcoRI (for example)

0.2µl 1mg/ml RNase A

in 100µl

37° for 1 hour, then purify through a QIAQuick PCR cleanup column into 120µl

Load 4µl per well in 10µl qPCR

Fast Lysis Buffer:	2% Triton-X100

1% SDS

100mM NaCl

1mM EDTA

10mM Tris pH8