PCR

Polymerases we use:

OneTaq (NEB) for basic PCR and colony PCR

Phire (NEB) as an alternative where OneTaq fails

Phusion (NEB) for cloning – very high fidelity enzyme, use for cloning and transformations

Q5 (NEB) for cloning – very high fidelity enzyme, use for cloning and transformations, alternative to Phusion

Takara LA (Takara Bio) for making deletion constructs – this enzyme is very reliable but has low fidelity. Never use for cloning.

Template DNA for PCR

Should be very dilute – use 1:10 dilutions of genomic DNA preps or cDNA, 1:500 dilutions of plasmid DNA.

More DNA rarely improves yield and often inhibits the reaction

Primers for PCR

Try to design primers with a predicted Therm. Tm of 50-51( (as calculated by VectorNTI or SeqBuilder). These will reliably work with a 50( annealing temperature in the PCR reaction in yeast – you have to be more careful about annealing temperatures for mammalian targets. Oligos should be more GC rich at the 5’ end, and have two Gs and Cs in the 3’ five nucleotides. A GC profile something like this is best, but sometimes you just have to take what’s there…

On arrival, dilute primers to 100pM/(l – the amount of water required for this is usually written on the tube or accompanying sheet. Then make a 10pM/(l working solution.

What size of reaction do I need?

Analytical PCR (is there a band or not?) – 12.5(l is fine

Preparative PCR (for cloning, as a probe template, etc.) –50(l is plenty to run a bit out, clean, quantify and have plenty left to work with

PCR for transformation in yeast - 40(l per transformation (run out 3(l, directly transform 34(l)

Master mixes

When setting up multiple reactions, make a master mix. This should contain everything except the DNA template. Make enough for an extra reaction or two to allow for pipetting errors. After you’ve aliquoted the mix into individual reactions, add the DNA. Mixing the reactions is not necessary as heating will do this for you.

OneTaq PCR

OneTaq comes as a 2x pre-mix with loading dye already incorporated. It is stable for ~1 month in the fridge to avoid having to thaw aliquots. We use this enzyme for all our genotyping.

|  | 12.5(l | 25(l | 50(l |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 2x OneTaq Hotstart | 6.25 | 12.5 | 25 |  |  |  |
| Oligo 1 (10pM/(l) | 0.25 | 0.5 | 1 |  |  |  |
| Oligo 2 (10pM/(l) | 0.25 | 0.5 | 1 |  |  |  |
| DNA | 0.25 | 0.5 | 1 |  |  |  |
| dH2O | 5.5 | 11 | 22 |  |  |  |

PCR conditions:	94(	1min

94(	15s		\

*50(	15s		 | x 35 cycles

68(	1min/kb	/

68(	5min

* This annealing temperature should be calculated separately for each primer pair using the calculator here http://tmcalculator.neb.com/#!/main. Primers designed using the rules at the start of this protocol normally work with Ta=50° however.

Phusion PCR

Normally 40 or 50(l PCRs, Phusion is the best cloning enzyme due to its incredibly low error rate (see cloning protocol).

|  | 40(l | 50(l |
| --- | --- | --- |
| 5x Phusion buffer | 8 | 10 |
| 10mM dNTPs | 0.8 | 1 |
| Oligo 1 (10pM/(l) | 0.8 | 1 |
| Oligo 2 (10pM/(l) | 0.8 | 1 |
| DNA | 0.8 | 1 |
| Phusion Hot start (NEB) | 0.4 | 0.5 |
| dH2O | 28.4 | 35.5 |

PCR conditions:	98(	30s

98(	10s		\

*53(	10s		 | x 35 cycles

72(	15-30s/kb	/

72(	5min

4(	hold

* This annealing temperature should be calculated separately for each primer pair using the calculator here http://tmcalculator.neb.com/#!/main

Try adding 5% DMSO to Phusion PCRs for amplifying some pFA6a plasmid inserts.

Q5 PCR

Normally 40 or 50(l PCRs for cloning or transformation

|  | 40(l | 50(l |
| --- | --- | --- |
| 5x Q5 buffer | 8 | 10 |
| 10mM dNTPs | 0.8 | 1 |
| Oligo 1 (10pM/(l) | 2 | 2.5 |
| Oligo 2 (10pM/(l) | 2 | 2.5 |
| DNA | 0.8 | 1 |
| Phusion Hot start (NEB) | 0.4 | 0.5 |
| dH2O | 26 | 32.5 |

PCR conditions:	98(	30s

98(	10s		\

*53(	10s		 | x 35 cycles

72(	20-30s/kb	/

72(	2min

4(	hold

* This annealing temperature should be calculated separately for each primer pair using the calculator here http://tmcalculator.neb.com/#!/main

Try adding 5X Q5 High GC Enhancer to PCRs if they fail first time.

Takara LA PCR

Normally 40(l PCR for transformation, make sure you sequence inserts synthesised with this enzyme. This enzyme is pretty expensive so don’t waste it.

|  | 40(l |  |
| --- | --- | --- |
| 10x LA PCR Buffer II buffer | 4 |  |
| Takara 2.5mM dNTPs | 6.4 |  |
| Oligo 1 (10pM/(l) | 0.8 |  |
| Oligo 2 (10pM/(l) | 0.8 |  |
| DNA | 0.8 |  |
| Takara LA Taq | 0.4 |  |
| dH2O | 26.8 |  |

PCR conditions:	94(	1min

98(	10s		\

*48(	20s		 | x 35 cycles

68(	30s/kb	            /

72(	10min

4(	hold

* Annealing temperature is variable. Use 48 for the standard pFA6a primers.

Phire PCR

This enzyme has been largely replaced with OneTaq for our routine use

|  | 10(l | 20(l | 40(l | 50(l | 60(l | 80(l |
| --- | --- | --- | --- | --- | --- | --- |
| 5x Phire buffer | 2 | 4 | 8 | 10 | 12 | 16 |
| 10mM dNTPs | 0.2 | 0.4 | 0.8 | 1 | 1.2 | 1.6 |
| Oligo 1 (10pM/(l) | 0.2 | 0.4 | 0.8 | 1 | 1.2 | 1.6 |
| Oligo 2 (10pM/(l) | 0.2 | 0.4 | 0.8 | 1 | 1.2 | 1.6 |
| DNA | 0.2 | 0.4 | 0.8 | 1 | 1.2 | 1.6 |
| Phire Hot start (NEB) | 0.2 | 0.4 | 0.8 | 1 | 1.2 | 1.6 |
| dH2O | 7.0 | 14.0 | 28.0 | 35.0 | 42.0 | 56.0 |

PCR conditions:	Annealing step should be Tm of primers +3( (based on value calculated by VectorNTI), so this is for primer Tm of 50(:

98(	30s

98(	5s	\

53(	5s	 | x 35

72(	20s/kb	/

72(	1 min

# Text boxes

GC content