PicoGreen quantification of DNA or RNA

For DNA:

This is for measuring very dilute samples such as from ChIP experiments

Ensure there is sufficient 1x TE, otherwise make more with the concentrated stock supplied and mQ water

Dilute 5µl λ DNA stock (100µg/ml) with 245µl 1x TE to 2µg/ml

There should be a stock of this concentration in the bag

Dilute 75µl 2µg/ml λ DNA with 225µl 1x TE to 500ng/ml

Make dilutions:		1x TE		500ng/ml λ DNA	concentration

900µl		100µl			50ng/ml

990µl		10µl			5ng/ml

999µl		1µl			500pg/ml

Set up two replicate dilution curves in a flat bottom 96 well plate from 500ng/ml to 500pg/ml, and also a control with only TE. Use 50µl per well, each replicate should contain five samples (4 dilutions, 1 blank)

Add 1µl each sample to 49µl 1x TE in wells (do two replicates of each)

Dilute PicoGreen 1:200 with 1x TE (you need 500µl for the calibration curves, and another 100µl per sample, plus 50µl spare). So, for 6 samples dilute 5.75µl PicoGreen in 1144µl 1x TE

Add 50µl diluted PicoGreen to each sample

Read the plate in a fluorimeter, excitation 488nm, emission 520nm, gain ~1000, but you can change this to bring different parts of the standard curve into range…

For RNA: - kit R11490 life tech

Note the sensitivity range of this assay – for 0.2µl RNA solution, this will measure concentrations between 500ng/µl and 2ng/µl. If your RNA concentration will be higher than this then dilute it (or just use the nanodrop).

Ensure there is sufficient 1x TE, otherwise make more with the concentrated stock supplied and mQ water

Dilute 4µl ribosomal RNA standard stock (100µg/ml) with 196µl 1x TE to 2µg/ml

Spare aliquots of the rRNA standard are stored in the Illumina box in the -30

You can then make the dilutions directly in the wells of a 96 well plate. Set up two wells per dilution:

Make dilutions:		1x TE		2µg/ml RNA		concentration

0µl		50µl			2000ng/ml

30µl		20µl			800ng/ml

45µl		5µl			200ng/ml

49µl		1µl			40ng/ml

50µl		0µl			blank

For each sample, do two replicate wells containinng 50µl 1xTE and 0.2µl sample

Dilute PicoGreen 1:200 with 1x TE (you need 500µl for the calibration curves, and another 100µl per sample, plus 50µl spare). So, for 6 samples dilute 5.75µl PicoGreen in 1144µl 1x TE

Add 50µl diluted PicoGreen to each sample

Read the plate in a fluorimeter, excitation 500nm, emission 525nm, gain ~1000, but you can change this to bring different parts of the standard curve into range…