Yeast Colony PCR

This is as reliable as colony PCR gets for me, but if it fails (and it is effectively limited to ~1kb or smaller products), use the slower protocol on the next page.

This works much better on freshly grown colonies than ones which have been sitting in the fridge for a while.

Re-suspend a colony in 30l 0.2% SDS

SDS quality seems to be important. We dilute this from a  Biorad pre-made 20% SDS solution, which works better than SDS stock made from powder

Boil at 98 for 20 minutes, vortex immediately before use

Standard genotyping PCR with OneTaq:

6.25 l OneTaq Hot Start QuickLoad 2x standard master mix (NEB)

0.025 l each primer at 100 M

6 l water

0.2 l boiled yeast suspension (or other DNA)

94C	1min

94C	15s		\

50C	15s		 | x 35 cycles

68C	1min/kb	/

68C	5min

Note that this reaction can be loaded directly on a gel with no additional dye

Slower, more reliable method

Re-suspend 1 large colony in 200l Fast Lysis buffers

Add 20-50l glass beads and 200l phenol/chloroform

Vortex for 5min at 4C or room temperature

Spin for 5min at top speed

Use the upper phase for PCR with OneTaq, Phire or Phusion - 1µl in 50µl maximum

Fast Lysis Buffer:	2% Triton-X100

1% SDS

100mM NaCl

1mM EDTA

10mM Tris pH8

This DNA lasts for a week or so at room temperature, but to make a permanent stock as a PCR template continue the preparation:

Extract 150µl of the upper phase, add 15µl 3M NaOAc pH5.2 and 450µl ethanol

Vortex, then spin 15min at top speed

Wash pellet with 1ml 70% ethanol

Dry pellet 5min at RT

Add 100µl EB (10mM Tris pH8.0, 1mM EDTA), vortex

Testing strains from the EUROSCARF deletion library:

Do a 10l Phire PCR with primers U1 and U1rev using the colony PCR protocol above

Run 2l on a gel (should see a band of ~100bp)

Clean the remaining 8l on QiaQuick column, elute in 50l

Sequence 1l of this in a 10l BigDye reaction using U1 rev to prime

U1:		GATGTCCACGAGGTCTCT

U1 rev: 	GGACGAGGCAAGCTAAACAG